## Slide 1
PCN 1
Summary :
Design Improvement
Reason for Change :
A change has been made to expand the bulk storage for External SSD FRU module and updating FPGA. Change is interchangeable.
Please refer to the Part Change Notification at the following url: https://pcncle.cloudapps.cisco.com/emco/pcnclei/prsc/pcnReport.do?recordManagementView=302374
Description of Change :
Updated FPGA Expanding bulk storage Test Information: EDVT, RDT, MFG test
Effect of Change :
This is not a field affecting change

## Slide 2
PCN 2
Summary :
Design Improvement
Reason for Change :
A change has been made to update FPGA to V500 for design improvement. No change to form, fit and function.
Please refer to the Part Change Notification at the following url: https://pcncle.cloudapps.cisco.com/emco/pcnclei/prsc/pcnReport.do?recordManagementView=302372
Description of Change :
Updated FPGA Test Information: Engineering EDVT testing.
Effect of Change :
This is not a field affecting change

## Slide 3
PCN 3
Summary :
Design Improvement
Reason for Change :
A change has been made to update remote fin heat sink design to address the exceeding acceptable temperature threshold. Issue is only seen at manufacturing site.
Please refer to the Part Change Notification at the following url: https://pcncle.cloudapps.cisco.com/emco/pcnclei/prsc/pcnReport.do?recordManagementView=302359
Description of Change :
update remote fin heat sink Test Information: TEST BUILDS AT CM SITES
Effect of Change :
This is not a field affecting change

## Slide 4
PCN 4
Summary :
Design Improvement
Reason for Change :
A change has been made to update remote fin heat sink design to address the exceeding acceptable temperature threshold. Issue is only seen at manufacturing site.
Please refer to the Part Change Notification at the following url: https://pcncle.cloudapps.cisco.com/emco/pcnclei/prsc/pcnReport.do?recordManagementView=302341
Description of Change :
Update remote fin heat sink Test Information: TEST BUILDS AT CM SITES
Effect of Change :
This is not a field affecting change